## Sheet1
LPOA Amenity & Common Area Maintenance Time Line
|  | First Quarter |  |  | Second Quarter |  |  | Third Quarter |  |  | Fourth Quarter
|  | January | February | March | April | May | June | July | August | September | October | November | December | Staff
1 | Clubhouse | Jet Flush Kitchen Plumbing Lines | Sweep Water Off Of Flat Roof & Inspect | Inspect East Deck & Make Safe For Season | Jet Flush Kitchen Plumbing Lines | Change Tank less Hot Water Heater Filter | Service All Door Locks With Dry Lube | Jet Flush Kitchen Plumbing Lines | Sweep Water Off Of Flat Roof & Inspect | Clean & Replace Faucet Spout Screens As needed | Jet Flush Kitchen Plumbing Lines | Change Tank less Hot Water Heater Filter | Get Out Christmas Decorations & Make Ready For F&B Committee | Jerome
2 |  | Clean Soda Fountain Basin Drains & Flush With Hot Water | Clean Soda Fountain Basin Drains & Flush With Hot Water | Clean Soda Fountain Basin Drains & Flush With Hot Water | Clean Soda Fountain Basin Drains & Flush With Hot Water | Clean Soda Fountain Basin Drains & Flush With Hot Water | Clean Soda Fountain Basin Drains & Flush With Hot Water | Clean Soda Fountain Basin Drains & Flush With Hot Water | Clean Soda Fountain Basin Drains & Flush With Hot Water | Clean Soda Fountain Basin Drains & Flush With Hot Water | Clean Soda Fountain Basin Drains & Flush With Hot Water | Clean Soda Fountain Basin Drains & Flush With Hot Water | Clean Soda Fountain Basin Drains & Flush With Hot Water | Jerome
3 |  | Put Away Christmas Decorations | Change Out All Furnace Filters | Change Out Pub (3) Freezer & (2) Refrigerator Filters & Vacuum Coils | Remove East Deck Plexiglas Panels & Store | Change Out All Furnace Filters | Change Out (3) Kitchen Refrigerator Filters & Vacuum Coils | Replace Or Paint Stained Ceiling Tiles @ First Floor | Change Out All Furnace Filters | Change Out Pub (3) Freezer & (2) Refrigerator Filters & Vacuum Coils | Install East Deck Plexiglas Panels & Service Heaters | Change Out All Furnace Filters | Change Out (3) Kitchen Refrigerator Filters & Vacuum Coils | Jerome
4 |  | Remove & Replace The Return Air Filter Fabric | Shovel Snow Off Decks & Porches As Needed | Replace Or Paint Stained Ceiling Tiles @ First Floor | Remove & Replace The Return Air Filter Fabric | Remove Exterior Cob Webs & Clean Glass As Needed | Replace Or Paint Stained Ceiling Tiles @ First Floor | Remove & Replace The Return Air Filter Fabric | Remove Exterior Cob Webs & Clean Glass As Needed | Make Sure Deicing Chemicals Are Purchased & Ready | Remove & Replace The Return Air Filter Fabric | Shovel Snow Off Decks & Porches As Needed | Replace Or Paint Stained Ceiling Tiles @ First Floor | Jerome
5 |  | Fill & Make Ready Bathroom Soap Dispensers | Fill & Make Ready Bathroom Soap Dispensers | Fill & Make Ready Bathroom Soap Dispensers | Fill & Make Ready Bathroom Soap Dispensers | Fill & Make Ready Bathroom Soap Dispensers | Fill & Make Ready Bathroom Soap Dispensers | Fill & Make Ready Bathroom Soap Dispensers | Fill & Make Ready Bathroom Soap Dispensers | Fill & Make Ready Bathroom Soap Dispensers | Fill & Make Ready Bathroom Soap Dispensers | Fill & Make Ready Bathroom Soap Dispensers | Fill & Make Ready Bathroom Soap Dispensers | Jerome
6 |  | Clean & Service Kitchen Grease Trap @ Dish Area | Check & Replace Urinal & Toilet Parts As Needed In Men's & Women's | Inspect Roof Top AC Units For Noise & Leaks Also Clean Condensers As Needed | Clean & Service Kitchen Grease Trap @ Dish Area | Inspect Roof Top AC Units For Noise & Leaks Also Clean Condensers As Needed | Touch Up Paint On Curbs & In Parking Lot For Fire Lanes & Handicap | Clean & Service Kitchen Grease Trap @ Dish Area | Inspect Roof Top AC Units For Noise & Leaks Also Clean Condensers As Needed | Rub Down & Touch Up Wood Trim & Base Boards | Clean & Service Kitchen Grease Trap @ Dish Area | Inspect Roof Top AC Units For Noise & Leaks Also Clean Condensers As Needed | Check & Replace Urinal & Toilet Parts As Needed In Men's & Women's | Jerome
7 |  | Check Daily The Pub Ice Machine & Condenser Drain Sump Pump | Check Daily The Pub Ice Machine & Condenser Drain Sump Pump | Check Daily The Pub Ice Machine & Condenser Drain Sump Pump | De-Winterize Hose Bibs (4) North, East, West. West Shut Off In Men's Locker Room, North Shut Off in Down Stairs Trash Hall, Ease Shutoff Under Stairs In Crawl Space | Check Daily The Pub Ice Machine & Condenser Drain Sump Pump | Check Daily The Pub Ice Machine & Condenser Drain Sump Pump | Check Daily The Pub Ice Machine & Condenser Drain Sump Pump | Check Daily The Pub Ice Machine & Condenser Drain Sump Pump | Check Daily The Pub Ice Machine & Condenser Drain Sump Pump | Check Daily The Pub Ice Machine & Condenser Drain Sump Pump | Check Daily The Pub Ice Machine & Condenser Drain Sump Pump | Check Daily The Pub Ice Machine & Condenser Drain Sump Pump | Jerome
8 |  | Check Daily & Replace Light Bulbs As Needed Through Clubhouse | Check Daily & Replace Light Bulbs As Needed Through Clubhouse | Check Daily & Replace Light Bulbs As Needed Through Clubhouse | Check Daily & Replace Light Bulbs As Needed Through Clubhouse | Check Daily & Replace Light Bulbs As Needed Through Clubhouse | Check Daily & Replace Light Bulbs As Needed Through Clubhouse | Check Daily & Replace Light Bulbs As Needed Through Clubhouse | Check Daily & Replace Light Bulbs As Needed Through Clubhouse | Check Daily & Replace Light Bulbs As Needed Through Clubhouse | Winterize Hose Bibs (4) North, East, West. West Shut Off In Men's Locker Room, North Shut Off in Down Stairs Trash Hall, Ease Shutoff Under Stairs In Crawl Space | Check Daily & Replace Light Bulbs As Needed Through Clubhouse | Check Daily & Replace Light Bulbs As Needed Through Clubhouse | Jerome
|  | First Quarter |  |  | Second Quarter |  |  | Third Quarter |  |  | Fourth Quarter
|  | January | February | March | April | May | June | July | August | September | October | November | December
9 | Lakes & Ponds | Spray Ponds For Aquatic Vegetation Growth | Spray Ponds For Aquatic Vegetation Growth | Spray Ponds For Aquatic Vegetation Growth | Spray Ponds For Aquatic Vegetation Growth | Spray Ponds For Aquatic Vegetation Growth | Spray Ponds For Aquatic Vegetation Growth | Spray Ponds For Aquatic Vegetation Growth | Spray Ponds For Aquatic Vegetation Growth | Spray Ponds For Aquatic Vegetation Growth | Spray Ponds For Aquatic Vegetation Growth | Spray Ponds For Aquatic Vegetation Growth | Spray Ponds For Aquatic Vegetation Growth | Jon, David, Dan
10 |  | Service The Clean Flo Pond Aerators | Grease & Service Emergency Flood Gate Operators | Service & Clean The Dam Toe Drains | Service The Clean Flo Pond Aerators | Grease & Service Emergency Flood Gate Operators | Service & Clean The Dam Toe Drains | Service The Clean Flo Pond Aerators | Grease & Service Emergency Flood Gate Operators | Service & Clean The Dam Toe Drains | Service The Clean Flo Pond Aerators | Grease & Service Emergency Flood Gate Operators | Service & Clean The Dam Toe Drains | Jon, David, Dan
11 |  | Clean Pond & lake Windy Corners | Clean Pond & lake Windy Corners | Clean Pond & lake Windy Corners | Clean Pond & lake Windy Corners | Clean Pond & lake Windy Corners | Clean Pond & lake Windy Corners | Clean Pond & lake Windy Corners | Clean Pond & lake Windy Corners | Clean Pond & lake Windy Corners | Clean Pond & lake Windy Corners | Clean Pond & lake Windy Corners | Clean Pond & lake Windy Corners | Jon, David, Dan
12 |  | Check & Service Waters Edge Dewatering Pumps | Contract Spray East Lake Coves For Aquatic Vegetation | Contract Spray East Lake Coves For Aquatic Vegetation | Check & Service Waters Edge Dewatering Pumps | Install West Lake Beach Sand & Grade | Spray E & W Lake Shoreline Rip Rap For Vegetation | Check & Service Waters Edge Dewatering Pumps | Inspect , Remove & Replace E & W Lake Safety Signage | Remove, Replace & Repair Caution Buoys On E&W Lakes | Check & Service Waters Edge Dewatering Pumps | Line Up Fish Lake Stocking - Lake Use Committee |  | Jon, David, Dan
13 |  | Grease Landscaping Truck Dump Bess & Hoists | Trim Back All Brush Away From channel Bridge For Upcoming Growing Season | Install Pond Aerators | Spray E&W lake Dams & | Clean & Service Pond Aerators | Purchase Supplies For 4th Of July Activities & Fireworks & Clean & Service Pond Aerators | Install 4th July Float Buoys For Fireworks Boat Clearance & Clean & Service Pond Aerators | Clean & Service Pond Aerators | Clean & Service Pond Aerators | Remove Pond Aerators | Power Wash The East Lake Overflow Structure & Apply Concrete Sealer As Needed |  | Jon, David, Dan
14 |  | Clean & Service E & W Lake Spillways As Needed | Inspect & Add 1/2" Gravel @ Lakewood Sail & Swim Club Beaches | Clean & Service Pond Overflows - 7 Acre, Silver Leaf, Wood Ridge, Woods Chapel | Clean & Service E & W Lake Spillways As Needed | Install West Lake Beach Rope & Float Barriers | Clean & Service Pond Overflows - 7 Acre, Silver Leaf, Wood Ridge, Woods Chapel | Clean & Service E & W Lake Spillways As Needed | Inspect, Repair Or Replace Lake Buoys For No Wake, Shallow Water & Do Not Enter | Clean & Service Pond Overflows - 7 Acre, Silver Leaf, Wood Ridge, Woods Chapel | Remove West Lake Beach Rope & Floats | Clean & Service E & W Lake Spillways As Needed | Clean & Service Pond Overflows - 7 Acre, Silver Leaf, Wood Ridge, Woods Chapel | Jon, David, Dan
|  | First Quarter |  |  | Second Quarter |  |  | Third Quarter |  |  | Fourth Quarter
|  | January | February | March | April | May | June | July | August | September | October | November | December
15 | Landscaping, Trees & Turf |  | Install Landscaping Bed Lime | Install Landscaping Bed Pre-Emergent | Spray Landscaping Beds For Weeds & Fungus | Spray E&W Lake Dams & Spray Landscaping Beds For Weeds & Fungus | Spray E&W Lake Dams & Spray Landscaping Beds For Weeds & Fungus | Spray Landscaping Beds For Weeds & Fungus | Spray Landscaping Beds For Weeds & Fungus | Spray E&W Lake Dams & Spray Landscaping Beds For Weeds & Fungus | Perform Annual Common Ground Tree Trimming | Perform Annual Common Ground Tree Trimming | Perform Annual Common Ground Tree Trimming | Walter & Dan
16 |  |  | Trim Back Rose Bushes, Spirrea, Cat Mint & Fountain Grass | Install Common Ground Turf Pre-Emergent Application | Administer LPOA Common Ground Mowing Contract | Administer LPOA Common Ground Mowing Contract | Administer LPOA Common Ground Mowing Contract | Administer LPOA Common Ground Mowing Contract | Administer LPOA Common Ground Mowing Contract | Administer LPOA Common Ground Mowing Contract | Administer LPOA Common Ground Mowing Contract | Administer LPOA Common Ground Mowing Contract |  | Walter & Dan
17 |  | Trim Back The Brush From The Back Yards Where The Cottage Meet LPOA Maintenance |  | Spray For Sand Spurs @ 7 Acre Lake Dam | Remove & Replace Dead Landscaping Bushes As Needed | Install Common Ground Broadleaf Chemical Application | Perform 1st Seasonal Bush Trimming | Install Additional Compost As Needed For Moisture Base | Install Common Ground Broadleaf Chemical Application | Core Aerate Common Ground Areas & Over seed If Needed | Core Aerate Common Ground Areas & Over seed If Needed | Install Common Ground Winter Fertilizer Application |  | Walter & Dan
18 |  | Administer LPOA Backflow Preventer Contract | Administer LPOA Backflow Preventer Contract | Administer LPOA Backflow Preventer Contract | Irrigate Landscaping Beds As Required By Hand | Irrigate Landscaping Beds As Required By Hand | Irrigate Landscaping Beds As Required By Hand | Irrigate Landscaping Beds As Required By Hand | Irrigate Landscaping Beds As Required By Hand | Make Preparations @ 23 Acres For Annual BBQ Contest & Irrigate Landscaping Beds As Required By Hand | Winterize LPOA Common Area Irrigation Systems | Trim All LPOA Planted Parkway Trees To Within City Of LS Standards | Trim All LPOA Planted Parkway Trees To Within City Of LS Standards | Walter & Dan
19 |  | Trim Back Common Area Perimeter Brush For Mowing Access | Trim Back Common Area Perimeter Brush For Mowing Access | Start Up LPOA Common Area Irrigation Systems | Perform Slope & Specialty Mowing (LPOA In House) | Perform Slope & Specialty Mowing (LPOA In House) | Perform Slope & Specialty Mowing (LPOA In House) | Perform Slope & Specialty Mowing (LPOA In House) | Perform Slope & Specialty Mowing (LPOA In House) | Fill & Make Ready Bathroom Soap Dispensers | Perform Slope & Specialty Mowing (LPOA In House) | Grease & Service Wind Sculptures |  | Walter & Dan
20 |  |  | Grease & Service Wind Sculptures |  | Install Compost in Landscaping Beds For Future Flower Planting | Administer LPOA Landscaping Bed Select Bed Flower Plantings | Install Stimulator & Fertilizer For Annual Bed Flower Plantings | Grease & Service Wind Sculptures | Perform 2nd Seasonal Bush Trimming | Install New Dirt & Seed On LPOA Parkway Areas | Mulch Leafs In Common Areas | Mulch Leafs In Common Areas | Mulch Leafs In Common Areas | Walter & Dan
21 |  | Perform LPOA Common Ground Dead Tree & Limb Removal & Disposal | Perform LPOA Common Ground Dead Tree & Limb Removal & Disposal | Perform LPOA Common Ground Dead Tree & Limb Removal & Disposal | Perform LPOA Common Ground Dead Tree & Limb Removal & Disposal | Perform LPOA Common Ground Dead Tree & Limb Removal & Disposal | Perform LPOA Common Ground Dead Tree & Limb Removal & Disposal | Perform LPOA Common Ground Dead Tree & Limb Removal & Disposal | Perform LPOA Common Ground Dead Tree & Limb Removal & Disposal | Perform LPOA Common Ground Dead Tree & Limb Removal & Disposal | Perform LPOA Common Ground Dead Tree & Limb Removal & Disposal | Perform LPOA Common Ground Dead Tree & Limb Removal & Disposal | Perform LPOA Common Ground Dead Tree & Limb Removal & Disposal | Walter & Dan
22 |  | Remove & Replace Damaged Landscaping Bed Plastic Perimeter Boarder | Remove & Replace Damaged Landscaping Bed Plastic Perimeter Boarder | Remove & Replace Damaged Landscaping Bed Plastic Perimeter Boarder | Clean & Wax The Garden Club Bronze Deer, Eagle & Herron Statures |  | Spot Spray E&W Lake Boat Rack Areas For Weed & Brush Control | Spot Spray E&W Lake Boat Rack Areas For Weed & Brush Control | Reserve 185 CFM Compressor For Winterizing Irrigation | Install New Decorative Bed Rock As Needed | Remove All Dead Seasonal Landscaping Bed Plantings After Frost | Till Up Landscaping Flower Bed Areas |  | Walter & Dan
23 |  |  |  |  | Spray E&W Lake Shorelines For Evasive Species Control | Spray E&W Lake Shorelines For Evasive Species Control | Spray E&W Lake Shorelines For Evasive Species Control | Spray For LPOA Common Ground Tree & Bush Bag Worms | Spray E&W Lake Shorelines For Evasive Species Control | Spray E&W Lake Shorelines For Evasive Species Control | Perform Annual Common Ground Tree Planting If Elected | Perform Annual Common Ground Tree Planting If Elected |  | Walter & Dan
|  | First Quarter |  |  | Second Quarter |  |  | Third Quarter |  |  | Fourth Quarter
|  | January | February | March | April | May | June | July | August | September | October | November | December
24 | Marina & Pleasure Docks | Remove Old Docks Off Of The E&W Lakes For New LIP Docks | Remove & Replace Rotten Marina Dock Slip Wooden Rails & Bumpers | Remove & Replace Rotten Marina Dock Slip Wooden Rails & Bumpers | Remove & Replace Rotten Marina Dock Slip Wooden Rails & Bumpers | Remove & Replace Pleasure Dock Broken Pavers & Perimeter Bumper | Remove & Replace Pleasure Dock Broken Pavers & Perimeter Bumper | Remove & Replace Pleasure Dock Broken Pavers & Perimeter Bumper | Remove & Replace Pleasure Dock Broken Pavers & Perimeter Bumper | Remove & Replace Pleasure Dock Broken Pavers & Perimeter Bumper | Remove & Replace Broken, Cracked Or Damaged Deck Pavers | Remove & Replace Broken, Cracked Or Damaged Deck Pavers | Remove & Replace Broken, Cracked Or Damaged Deck Pavers | Jon Stephens
25 |  | Remove Goose Poop Off Of Marina Docks & Pleasure Docks | Remove Goose Poop Off Of Marina Docks & Pleasure Docks | Remove Goose Poop Off Of Marina Docks & Pleasure Docks | Remove Goose Poop Off Of Marina Docks & Pleasure Docks | Remove Goose Poop Off Of Marina Docks & Pleasure Docks | Remove Goose Poop Off Of Marina Docks & Pleasure Docks | Remove Goose Poop Off Of Marina Docks & Pleasure Docks | Remove Goose Poop Off Of Marina Docks & Pleasure Docks | Remove Goose Poop Off Of Marina Docks & Pleasure Docks | Remove Goose Poop Off Of Marina Docks & Pleasure Docks | Remove Goose Poop Off Of Marina Docks & Pleasure Docks | Remove Goose Poop Off Of Marina Docks & Pleasure Docks | Jon Stephens
26 |  | Adjust East Marina Dock Non-Secure Ramps For Alignment | Service, Grease & Adjust Marina Dock Winches & Cables |  | Adjust East Marina Dock Non-Secure Ramps For Alignment | Service, Grease & Adjust Marina Dock Winches & Cables |  | Adjust East Marina Dock Non-Secure Ramps For Alignment | Service, Grease & Adjust Marina Dock Winches & Cables |  | Adjust East Marina Dock Non-Secure Ramps For Alignment | Service, Grease & Adjust Marina Dock Winches & Cables |  | Jon Stephens
27 |  | Review, Inspect & Repair Marina Dock Shore Power, Lights & Power Mates | Review, Inspect & Repair Marina Dock Shore Power, Lights & Power Mates | Review, Inspect & Repair Marina Dock Shore Power, Lights & Power Mates | Review, Inspect & Repair Marina Dock Shore Power, Lights & Power Mates | Review, Inspect & Repair Marina Dock Shore Power, Lights & Power Mates | Review, Inspect & Repair Marina Dock Shore Power, Lights & Power Mates | Review, Inspect & Repair Marina Dock Shore Power, Lights & Power Mates | Review, Inspect & Repair Marina Dock Shore Power, Lights & Power Mates | Review, Inspect & Repair Marina Dock Shore Power, Lights & Power Mates | Review, Inspect & Repair Marina Dock Shore Power, Lights & Power Mates | Review, Inspect & Repair Marina Dock Shore Power, Lights & Power Mates | Review, Inspect & Repair Marina Dock Shore Power, Lights & Power Mates | Jon Stephens
28 |  | Review, Inspect & Service Marina Dock Gates, Cameras & POE | Review, Inspect & Service Marina Dock Gates, Cameras & POE | Review, Inspect & Service Marina Dock Gates, Cameras & POE | Review, Inspect & Service Marina Dock Gates, Cameras & POE | Review, Inspect & Service Marina Dock Gates, Cameras & POE | Review, Inspect & Service Marina Dock Gates, Cameras & POE | Review, Inspect & Service Marina Dock Gates, Cameras & POE | Review, Inspect & Service Marina Dock Gates, Cameras & POE | Review, Inspect & Service Marina Dock Gates, Cameras & POE | Review, Inspect & Service Marina Dock Gates, Cameras & POE | Review, Inspect & Service Marina Dock Gates, Cameras & POE | Review, Inspect & Service Marina Dock Gates, Cameras & POE | Jon Stephens
29 |  | Install New LIP Pleasure Dock Bulkheads | Install New LIP Pleasure Dock Bulkheads | Install New LIP Pleasure Dock Bulkheads | Administer Contract To Install New LIP Pleasure Dock On E&W Lakes | Inspect, Repair & Replace If Needed The Pleasure Dock Ladders | Inspect, Remove & Replace If Needed The Pleasure Dock Signage | [6 empty] | Jon Stephens
|  | First Quarter |  |  | Second Quarter |  |  | Third Quarter |  |  | Fourth Quarter
|  | January | February | March | April | May | June | July | August | September | October | November | December
30 | Monuments, Pet Waste Stations & Trash Stations | Perform Weekly Service At All Trash Stations & Pet Waist Stations | Perform Weekly Service At All Trash Stations & Pet Waist Stations | Perform Weekly Service At All Trash Stations & Pet Waist Stations | Perform Weekly Service At All Trash Stations & Pet Waist Stations | Perform Weekly Service At All Trash Stations & Pet Waist Stations | Perform Weekly Service At All Trash Stations & Pet Waist Stations | Perform Weekly Service At All Trash Stations & Pet Waist Stations | Perform Weekly Service At All Trash Stations & Pet Waist Stations | Perform Weekly Service At All Trash Stations & Pet Waist Stations | Perform Weekly Service At All Trash Stations & Pet Waist Stations | Clean, Prepare & Repaint The Metal Letters On The Main Water Fall Fountain & Perform Weekly Service At All Trash Stations & Pet Waist Stations | Perform Weekly Service At All Trash Stations & Pet Waist Stations | David & Jackson
31 |  | Inspect & Service Monument Lighting & Remove Christmas Wreaths | Service Pet Waist Station Boxes For Use | Wash Stone Monuments As Needed For Atmospheric Staining | Inspect & Service Monument Lighting | Prepare & Repaint The Metal Letter Signage On Each Monument | Sanitize Trash Cans & Pet Waist Station Collection Boxes | Inspect & Service Monument Lighting |  | Remove & Replace E&W Lake Dam Monument Light Bulbs As Needed | Inspect & Service Monument Lighting | Install Christmas Wreathes On Monuments | Sanitize Trash Cans & Pet Waist Station Collection Boxes | David & Jackson
|  | First Quarter |  |  | Second Quarter |  |  | Third Quarter |  |  | Fourth Quarter
|  | January | February | March | April | May | June | July | August | September | October | November | December
32 | Parking Lots, Streets, Sidewalks & Boat Ramps | Clean Up Mud & Debris On Sidewalks @ Troubled Areas |  | Repaint Fire Lanes & Handicap Marking As Needed | Clean Up Mud & Debris On Sidewalks @ Troubled Areas | Prepare & Repair Boat Ramp Gates |  | Clean Up Mud & Debris On Sidewalks @ Troubled Areas |  | Call City of LS For Bulk Salt Delivery To Maintenance Facility | Clean Up Mud & Debris On Sidewalks @ Troubled Areas |  |  | Jackson, Dan, Jerome
33 |  | Install Deicing Chemicals As Needed | Install Deicing Chemicals As Needed | Install Deicing Chemicals As Needed | Perform Parking Lot Pot Hole Repair As Needed | Fill & Seed Erosion Areas Around Common Area Sidewalks | Fill & Seed Erosion Areas Around Common Area Sidewalks |  |  | Stock Up On Deicing Chemicals & Place In Storage | Perform Crew Plow Round Up & Practice Session & Install Deicing Chemicals As Needed | Install Deicing Chemicals As Needed | Install Deicing Chemicals As Needed | Jackson, Dan, Jerome
34 |  | Plow Streets & Amenities As Needed | Plow Streets & Amenities As Needed | Plow Streets & Amenities As Needed | Spray Sidewalks & Streets For Volunteer Weed In Cracks | Spray Sidewalks & Streets For Volunteer Weed In Cracks | Spray Sidewalks & Streets For Volunteer Weed In Cracks | Spray Sidewalks & Streets For Volunteer Weed In Cracks | Prepare Trucks, Plows & Salt Spreader For Winter Service | Prepare Trucks, Plows & Salt Spreader For Winter Service | Plow Streets & Amenities As Needed | Plow Streets & Amenities As Needed | Plow Streets & Amenities As Needed | Jackson, Dan, Jerome
|  | First Quarter |  |  | Second Quarter |  |  | Third Quarter |  |  | Fourth Quarter
|  | January | February | March | April | May | June | July | August | September | October | November | December
35 | Pavilions & Picnic Shelters | Remove & Replace HVAC & Mini Split Filters | Inspect & Service Main Bathrooms | Inspect & Service Main Bathrooms | Remove & Replace HVAC & Mini Split Filters | Service & Grease All Gate & Door Handles & Locks | Remove & Replace HVAC & Mini Split Filters |  |  | Remove & Dispose Of Empty Pool Chemical Containers | Remove & Replace HVAC & Mini Split Filters | Winterize ELV Plumbing System With Antifreeze |  | Jackson & David
36 |  | Remove & Replace All Picnic Shelter Lights | Service ELV & Main Bathroom Power Vents In Bathrooms | Install New Batteries In All Thermostats, Clocks & Safety Detectors | Clean & Wash the Condensing Coils On Mini Split Systems | Clean & Wash the Condensing Coils On Mini Split Systems | Clean & Wash the Condensing Coils On Mini Split Systems | Clean & Wash the Condensing Coils On Mini Split Systems | Clean & Wash the Condensing Coils On Mini Split Systems | Clean & Wash the Condensing Coils On Mini Split Systems | Install New Batteries In All Thermostats, Clocks & Safety Detectors |  | Clean Out All Picnic Shelter & Pavilion Gutters | Jackson & David
37 |  | Blow Out & Clean Up Debris Inside Pavilions | Blow Out & Clean Up Debris Inside Pavilions | Blow Out & Clean Up Debris Inside Pavilions | Blow Out & Clean Up Debris Inside Pavilions & Picnic Shelters & Power wash Picnic Shelter Floors for Upcoming Season | Blow Out & Clean Up Debris Inside Pavilions | Blow Out & Clean Up Debris Inside Pavilions | Blow Out & Clean Up Debris Inside Pavilions | Blow Out & Clean Up Debris Inside Pavilions | Blow Out & Clean Up Debris Inside Pavilions | Blow Out & Clean Up Debris Inside Pavilions | Blow Out & Clean Up Debris Inside Pavilions | Blow Out & Clean Up Debris Inside Pavilions | Jackson & David
38 |  | Winterize Tables & Chairs | Winterize Tables & Chairs | Winterize Tables & Chairs | Clean & Straighten Tables & Chairs | Clean & Straighten Tables & Chairs | Clean & Straighten Tables & Chairs | Clean & Straighten Tables & Chairs | Clean & Straighten Tables & Chairs | Clean & Straighten Tables & Chairs | Winterize Tables & Chairs | Winterize Tables & Chairs | Winterize Tables & Chairs | Jackson & David
|  | First Quarter |  |  | Second Quarter |  |  | Third Quarter |  |  | Fourth Quarter
|  | January | February | March | April | May | June | July | August | September | October | November | December
39 | Playgrounds & Sports Courts | Inspect & Tighten Fasteners & Bolts On All Playground Equipment | Blow Off & Pattern Sweep Main & ELV Playground Turf | Fluff & Level Oak Playground Mulch & Reset Swing & Slide Landing Pads | Inspect & Tighten Fasteners & Bolts On All Playground Equipment | Blow Off & Pattern Sweep Main & ELV Playground Turf | Fluff & Level Oak Playground Mulch & Reset Swing & Slide Landing Pads | Inspect & Tighten Fasteners & Bolts On All Playground Equipment | Blow Off & Pattern Sweep Main & ELV Playground Turf | Fluff & Level Oak Playground Mulch & Reset Swing & Slide Landing Pads | Inspect & Tighten Fasteners & Bolts On All Playground Equipment | Blow Off & Pattern Sweep Main & ELV Playground Turf | Fluff & Level Oak Playground Mulch & Reset Swing & Slide Landing Pads | Jackson
40 |  | Inspect, Tighten & Service Tennis Court & Pickle Ball nets |  | Remove & Replace Torn Soccer Goal Nets | Inspect, Tighten & Service Tennis Court & Pickle Ball nets | Inspect & Spray For Wasps & Hornets In Playground Equipment | Inspect & Spray For Wasps & Hornets | Inspect & Spray For Wasps & Hornets | Inspect & Spray For Wasps & Hornets | Inspect & Spray For Wasps & Hornets | Clean Leaves Out Of Pickle Ball Court | Inspect & Service Tennis Court Wind Screens | Inspect & Service Tennis Court Wind Screens | Jackson
41 |  | Inspect & Service Tennis Court Wind Screens | Inspect & Service Tennis Court Wind Screens | Inspect & Service Tennis Court Wind Screens | Inspect & Service Tennis Court Wind Screens | Inspect & Service Tennis Court Wind Screens | Inspect & Service Tennis Court Wind Screens | Inspect, Tighten & Service Tennis Court & Pickle Ball nets |  | Remove & Replace Torn Soccer Goal Nets | Inspect, Tighten & Service Tennis Court & Pickle Ball nets | Inspect & Repair As Needed the Baseball Backstop Fences |  | Jackson
42 |  | Spray, Drag & Grade 23 Acre Walking Trail | Spray, Drag & Grade 23 Acre Walking Trail | Spray, Drag & Grade 23 Acre Walking Trail | Drag & Grade Baseball & Softball Fields | Drag & Grade Baseball & Softball Fields | Drag & Grade Baseball & Softball Fields | Inspect & Service Tennis Court Wind Screens | Inspect & Service Tennis Court Wind Screens | Inspect & Service Tennis Court Wind Screens | Inspect & Service Tennis Court Wind Screens |  |  | Jackson
43 |  | Inspect & Replace Playground Signage As Needed | Install New Limestone Chat On Baseball Infield As Needed | Cut Down The Infield-Outfield Turf Lip | Inspect, Service & Tighten Sand Volley Ball Nets | Inspect, Service & Tighten Sand Volley Ball Nets | Inspect, Service & Tighten Sand Volley Ball Nets | Drag & Grade Baseball & Softball Fields | Drag & Grade Baseball & Softball Fields | Drag & Grade Baseball & Softball Fields | Core Aerate, Over seed & Fertilize Soccer Fields |  |  | Jackson
44 |  |  |  |  | Spray, Drag & Grade 23 Acre Walking Trail | Spray, Drag & Grade 23 Acre Walking Trail | Spray, Drag & Grade 23 Acre Walking Trail | Inspect, Service & Tighten Sand Volley Ball Nets | Inspect, Service & Tighten Sand Volley Ball Nets | Inspect, Service & Tighten Sand Volley Ball Nets | Spray, Drag & Grade 23 Acre Walking Trail | Spray, Drag & Grade 23 Acre Walking Trail | Spray, Drag & Grade 23 Acre Walking Trail | Jackson
45 | [7 empty] | Spray, Drag & Grade 23 Acre Walking Trail | Spray, Drag & Grade 23 Acre Walking Trail | Spray, Drag & Grade 23 Acre Walking Trail |  |  |  | Jackson
|  | First Quarter |  |  | Second Quarter |  |  | Third Quarter |  |  | Fourth Quarter
|  | January | February | March | April | May | June | July | August | September | October | November | December
46 | Pools & Water Parks | Submit For Yearly Aquatic Venue Permit Jackson County | Grease & Service All Pool Gates & Door Handles | Remove Main Pool & Oaks Pool Tarp | Once Received - Post Aquatic Venue Permit @ Guard Shack | Fill & Balance Pools & Start Up Equipment | Power wash Pool Decks As Needed | Power wash Pool Decks As Needed | Power wash Pool Decks As Needed | Install Main Pool & Oaks Pool Tarp | Winterization Bumping of Pool Motors | Winterization Bumping of Pool Motors | Winterization Bumping of Pool Motors | Jon & David
47 |  | Winterization Bumping of Pool Motors | Winterization Bumping of Pool Motors | Winterization Bumping of Pool Motors | Clean & Wax The Spray Park Water Features | Reinstall All Pool Sun Shades For Season | Wipe Down, Clean & Spray Wax The Water Slide flume | Wipe Down, Clean & Spray Wax The Water Slide flume | Wipe Down, Clean & Spray Wax The Water Slide flume | Remove All Pool Sun Shades & Store for Winter | Remove ELV Dumping Buckets & Store For Winter | Access Main Pool Surge Tank & ELV Balance Tank & Inspect For Damage |  | Jon & David
48 |  | Clean Leaves & Debris Out of ELV Pool | Clean Leaves & Debris Out of ELV Pool | Prepare & Patch ELV & Main Pool Cool Deck Coating System & Clean Leaves & Debris Out of ELV Pool | Replace ELV & Main Pool SS Gutter Jet Nozzles & Grating Support Clamps &Clean & Wax The Spray Park Underbrella Fiberglass | Reinstall All Pool Deck Clocks & Replace Batteries | Double Check Tightness Of All Pool Deck Equipment & Starting Platforms | Flush Out Main & ELV Pool Deck Trench Drains | Flush Out Main & ELV Pool Deck Trench Drains | Winterize the Main Spray Park Dumping Bucket | Clean Leaves & Debris Out of ELV Pool | Clean Leaves & Debris Out of ELV Pool | Clean Leaves & Debris Out of ELV Pool | Jon & David
49 |  | Cut Out & Replace Miscellaneous Sections Of Pool Deck Failed Sealant | Reinstall ELV Dumping Bucket Feature | Clean Out Pool Deck Trench Drains | Clean & Polish ELV & Main Pool SS Gutters For Upcoming Season & Unpack & Set Out Pool Deck Furniture | Un winterize The Main Spray Park Dumping Bucket & Make Sure Balance Is Correct | Prepare Main Pool For Swim team Championships & Clean Out Pool Deck Trench Drains | Double Check Tightness Of All Pool Deck Equipment & Starting Platforms | Double Check Tightness Of All Pool Deck Equipment & Starting Platforms | Drain & Winterize Pool Heaters- Certify |  |  |  | Jon & David
50 | [5 empty] | Administer LPOA Pool Management Contract For All Pools & Spray Parks | Administer LPOA Pool Management Contract For All Pools & Spray Parks | Administer LPOA Pool Management Contract For All Pools & Spray Parks | Administer LPOA Pool Management Contract For All Pools & Spray Parks | Administer LPOA Pool Management Contract For All Pools & Spray Parks |  |  |  | Jon & David